## Sheet1
UI - PLC 입출력변수 (UI 기준 Input Output) |  |  |  |  | ***변동사항***
| Input | Output | 자료형 | UI | Main - tune_result | 추가
Main | bWatch |  | BOOL |  | Main - tune_Remaining_time | 추가
|  | tuning_mode | BOOL | Tune_Set
|  | tuning_time | LREAL | TuneTime
|  | tune_result | ARRAY[1..4] OF LREAL | TuneResult
| tune_Remaining_time |  | LREAL | UI에서 추가
master |  | master_TargetTemp | LREAL | TargetTemp
|  | master_pi_gain | ARRAY[1..4] OF LREAL | Gain
|  | master_integral_constant | ARRAY[1..4] OF LREAL | Ti
|  | master_Zone_Temp_Min | LREAL | TuneMax
|  | master_Zone_Temp_Max | LREAL | TuneMin
subTC | fPV_Value_SubTC |  | ARRAY[1..9] OF LREAL | Substrate Temp
| subTC_max |  | LREAL | Max Temp
| subTC_min |  | LREAL | Min Temp
| subTC_dev |  | LREAL | Max - Min
| subTC_AVG |  | LREAL | Avg Temp
slave |  | slave_bRamp_Enable | ARRAY[1..4] OF BOOL
|  | slave_fRamp_Value | ARRAY[1..4] OF LREAL | RampSet
|  | slave_fTargetTemp | ARRAY[1..4] OF LREAL | TempSet
|  | slave_fPowLimit | ARRAY[1..4] OF LREAL | PowerLimit
|  | slave_eCTRL_MODE | ARRAY[1..4] OF E_CTRL_MODE
|  | slave_bStart | BOOL | UI에서 TRUE로 Trigger
|  | slave_fP_Value | ARRAY[1..4] OF LREAL | P
|  | slave_tI_Value | ARRAY[1..4] OF LREAL | I
|  | slave_tD_Value | ARRAY[1..4] OF LREAL | D
| slave_fPV_Value |  | ARRAY[1..4] OF LREAL | ActTemp
| slave_fMV_Out |  | ARRAY[1..4] OF LREAL | ActPower
| slave_fRamp_Out |  | ARRAY[1..4] OF LREAL | WorkSet
| slave_nErrorID |  | E_CTRL_ERRORCODES
| slave_bError |  | BOOL
|  | slave_bEmergency_Stop | ARRAY[1..4] OF BOOL